## Sheet1
Building Name: |  |  | Contractor (name): |  |  |  | Contractor Complete
Door Number:
Single Door □ | Double Door □ | Door is part of a bank of doors: Yes □ No □
Are all wiring of devices installed according to the published details: Yes □ No □
Are all devices installed in the correct locations: Yes □ No □
Door is ready for commissioning by D&CM office: Yes □ No □
Card reader is installed at this location: Yes □ No □ |  |  |  | Door contact only (monitored door): Yes □ No □
Electronic hardware □ Electric Strike □ Magnetic Lock □ Piezzo □ Automatic operator □
Pass □ Fail □ | [6 empty] | Owner Completes This Section
Start date/time: |  |  | End date/time:
Noted anomalies:
[5 empty] | Door Leaf One | Door Leaf Two
Access granted with card test: Contractor 1 Card
|  |  |  | Did the door unlock: | Yes □ No □ N/A □ | Yes □ No □ N/A □
|  |  |  | Did the reader acknowledge the presentation of the card: | Yes □ No □ N/A □ | Yes □ No □ N/A □
|  |  |  | Did the door secure after the status change: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Access denied with card test: Contractor 2 Card
|  |  |  | Did the system indicate an Access Denied event: | Yes □ No □ N/A □ | Yes □ No □ N/A □
|  |  |  | Did the reader acknowledge the presentation of the card: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Door forced open
|  |  |  | Unlock door from unsecure side with key & open door; did door alarm: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Exit from secure side test
|  |  |  | No alarm should activate; was system free from alarms: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Door held test
|  |  |  | Activate request to exit, hold open door; is door held alarm activated: | Yes □ No □ | Yes □ No □
Local audible alarm test
|  |  |  | Reader sounded or piezzo is activated when door held open: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Auto operator (card-only mode)
|  |  |  | Access granted w card, press unsecure side operator; did door open: | Yes □ No □ N/A □ | Yes □ No □ N/A □
|  |  |  | Press operator button on unsecure side; no operation observed: | Yes □ No □ N/A □ | Yes □ No □ N/A □
|  |  |  | Press operator button on secure side; did door open: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Auto operator (unlocked mode)
|  |  |  | Press operator button on unsecure side; did door open: | Yes □ No □ N/A □ | Yes □ No □ N/A □
|  |  |  | Press operator button on secure side; did door open: | Yes □ No □ N/A □ | Yes □ No □ N/A □
Power Fail Test
|  |  |  | Remove power from Mercury controller; is door secure: | Yes □ No □ | Yes □ No □
|  |  |  | Remove power from door hardware; is door secure: | Yes □ No □ | Yes □ No □
D&CM Commissioning Rep(s)
Date:
Date:
Copy Returned to Contractor: Yes □ No □